Separation of monomer and dimer DNA Origami using SEC HPLC 4-5/16

AFM images of origami monomer and origami dimers.

The size of the monomer is 90X60X2.5 nm.

The size of the dimer is 180X60X2.5 nm.

Monomer under AFM

Dimer under AFM

Simulation shows that origami monomer in solution maybe bend to the following structure (diameter ~ 14 nM). Meaning the dimer will be a roughly tube of the length180 nm and diameter ~14 nm.

– but that is not certain

Results:

Sample preparation method:

- Add TEAA to 100uL in volume

- Pre-Assembly – 0.2uL     TE

- ‘M13mp18 – 2uL TE

- Monomer – 10uL TAE 4mM Mg

- Dimer - 10uL TAE 250mM NaCl

Pre Assembly – A mixture of 200 ssDNA at 32 & 24 bases long. Kept in TE 1x (10mM Tris, 1mM EDTA)

m13mp18 – ssDNA 7,249 bases, 700kDa, 80% of molecules are circular. Kept in TE 1x

Origami monomer – 60x90nm, 1400kDa. Kept in TAE 1x (40mM Tris, 20mM acetic acid, 1mM EDTA) 4mM Mg2+

Origami Dimer – 60x180nm, 2800k Kept in TAE 1x 250mM NaCl

Protein KW-803 pore size 100nm – No Salt in the Running Buffer

Running Buffer: TEAA 1x (Triethylammonium acetate 0.1M) 0.5ml/min

Origami monomer

m13mp18

Protein KW-803 pore size 100nm – TEAA 1x 500 mM NaCl 0.5ml/min

Origami dimer

Origami monomer

m13mp18

Slower flow rate – 803 (with 500 mM NaCl)

Running Buffer: TEAA 1x 500mM NaCl 0.2ml/min

m13mp18

Origami monomer

Origami dimer

Reinjection of Monomer

Running Buffer: TEAA 1x 0.5ml/min

Running Buffer: TEAA 1x 500mM NaCl 0.5ml/min

KW-804, pore size 150nm, (with 500 mM NaCl)

Running Buffer: TEAA 1x 500mM NaCl 0.5ml/min

Origami dimer

Origami monomer

Asahipak GS-520 HQ pore size 200 nm (ION EXCHANGE) – No Salt

Running Buffer: TEAA 1x 0.5ml/min

Asahipak GS-520 HQ pore size 200 nm (ION EXCHANGE) – 500 Mm fixed

Running Buffer: TEAA 1x 500mM NaCl 0.5ml/min pH=7

Different pH and salt measurements

Running Buffer: TEAA 1x 0.5ml/min pH=5.5

Running Buffer: TEAA 1x 0.5ml/min pH=5.5 50mM NaCl

Running Buffer: TEAA 1x 0.5ml/min pH=8.5

Running Buffer: TEAA 1x 0.5ml/min pH=8.5 50mM NaCl